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POZE – Changes Compared to the Current Production Version
27 August 2026
RESEVCS Message Definition
New attributes have been added to the ChargingStation element:
· nap-id – Charging station identifier according to the National Access Point
· charging-station-type – Station type (AC / DC / combined)
· charging-point-count – Number of charging points (integer data type)
· installed-capacity-kw – Installed capacity (kW)
· street – Street
· house-num-1 – Building/registration number
· house-num-2 – Orientation number
· post-code – Postal code
· city – City
· gps-latitude – Latitude
· gps-longitude – Longitude
· consumption-ean – Consumption EAN
Version 2.009
The following new attributes have been added to the Sources element:
· producer-name – Producer name
· licence-id – License number
· source-type – Source type
· power-kw – Installed capacity (kW)
· oper-start-date – Commissioning date
RESDATA Message Definition
New enumerations have been added for the value-type attribute of the Data element:
· GCR_13E – Electricity consumption from the transmission system for electricity storage and the subsequent supply of electricity from the storage facility back to the transmission system.
· GCR_13F – Electricity consumption from the extra-high voltage (EHV) distribution system for electricity storage and the subsequent supply of electricity from the storage facility back to the distribution system.
· GCR_13G – Electricity consumption from the high voltage (HV) distribution system for electricity storage and the subsequent supply of electricity from the storage facility back to the distribution system.
· GCR_13H – Electricity consumption from the low voltage (LV) distribution system for electricity storage and the subsequent supply of electricity from the storage facility back to the distribution system.
RESREPORT Message Definition
New enumerations have been added for the value-type attribute of the Data element:
· GCR_13E – Electricity consumption from the transmission system for electricity storage and the subsequent supply of electricity from the storage facility back to the transmission system.
· GCR_13F – Electricity consumption from the extra-high voltage (EHV) distribution system for electricity storage and the subsequent supply of electricity from the storage facility back to the distribution system.
· GCR_13G – Electricity consumption from the high voltage (HV) distribution system for electricity storage and the subsequent supply of electricity from the storage facility back to the distribution system.
· GCR_13H – Electricity consumption from the low voltage (LV) distribution system for electricity storage and the subsequent supply of electricity from the storage facility back to the distribution system.

